## Slide 1: Isoflurane: Safe Use Guidelines
(2-chloro-2-(difluoromethoxy)-1,1,1-trifluoro-ethane) is a halogenated ether used for inhalational anesthesia.

## Slide 2: Symptoms of Exposure
Acute exposure: nausea, vomiting, skin irritation, nose/throat/respiratory irritation, headache, dizziness, and drowsiness.
Chronic exposure: hypotension, tachycardia, respiratory depression, and elevated blood glucose levels. Isoflurane produces fluorides, which are potentially nephrotoxic.

## Slide 3: EXPOSURE LIMITS AND TOXICOLOGY
It is recommended that no worker should be exposed to greater than 2 ppm (15.09 mg/m3 for isoflurane) of any halogenated anesthetic agent, based on the weight of the agent collected for a 45-liter air sample by charcoal absorption over a sampling period not to exceed one hour.

## Slide 4: Common Causes of Exposure
Benchtop delivery of inhalant anesthetic without adequate scavenging.
Poorly fitted face masks.
Turning on flow meters or inhalants before attaching the breathing system to the subject.
Disconnecting subjects from the anesthesia machine before waste anesthetic gases have been adequately scavenged.
Leaks in the anesthetic delivery system.

## Slide 5: Equipment and System Maintenance
Leak test anesthesia machines, breathing systems, and scavenging systems before each use.
Conduct regular equipment and system maintenance to ensure reliable performance.

## Slide 6: Required Training
PI or an experienced person must train new users before starting to work with anesthetics
Perform a hazard evaluation before beginning work
Consult Safety Resources before beginning work (e.g., MSDSs)
Consult with OEHS staff about questions or concerns related to work with anesthetic gases

## Slide 7: Emergency Practices
Never work alone.
Clean up small, incidental spills promptly .
Review your MSDS.
Know the location and how to operate safety equipment, including:
    Emergency Guide
    Emergency Eyewash and Shower
    First aid kit
    Fire Extinguisher & fire alarm pull station

## Slide 8: Labeling
Label all containers as follows:
  Name of the material
  Concentration
  Warnings
  Date, when appropriate
  Preparer's initials, when appropriate
Buy the least amount of product the work requires. Do not buy in large quantities to "save money” , is a loosing strategy when it comes to disposal costs

## Slide 9: Hazard Control
Engineering controls:
Isoflurane must be administered by an approved anesthetic gas machine with a scavenging system in a well-ventilated room or in a certified fume hood.
Active Scavenging Models: Minimize or eliminate the possibility of workplace exposure by using 1 of the 3 active scavenging models listed below.

## Slide 10: Order of Priority
Model 1
Model 2
Model 3

## Slide 11
Model 1 (preferred) – Handle inhalants and waste products under:
  Certified chemical fume hood
  Certified hard-ducted biosafety cabinet
  Other local exhaust device (e.g., snorkel, etc)
Model 2 – Handle inhalants and waste products in a ductless device that allows rapid elimination of waste gases by adsorption in activated charcoal:

## Slide 12
Not effective for adsorption of nitrous oxide.
Activated charcoal filters become saturated with anesthetic gas: must be changed out regularly.
Efficiency depends on the amount of time and quantities of material being used.
Maintain a log sheet to the filter to better manage the change out interval.
Managing Charcoal filters

## Slide 13
Model 3 – Handle inhalants and waste products using house vacuum that allows rapid elimination of waste gases from the workplace:
Use them only if other more reliable techniques are not available.
Model 1 is preferred whenever possible.

## Slide 14: Passive Scavenging
Discharging directly into the working environment
Adsorption devices, such as canisters containing activated charcoal, can be used as waste-gas disposal systems in lieu of other types of scavenging systems, especially when portability is an issue. Activated charcoal is not effective for adsorption of nitrous oxide.

## Slide 15: Additional Required Controls
Work in a well-ventilated room
Wear this personal protection equipment:
    -Lab coat
    -Safety glasses
    -Disposable surgical gloves
    -Closed-toed shoes
Use the least hazardous product and delivery system available for the task.
Keep container sizes and quantities as small as possible in the work area.
Store and transport stock bottles in a secondary container.
Avoid techniques that make scavenging difficult or impossible (ex: open drop)

## Slide 16: Work practices
Liquid isoflurane must be stored under lock in a cool, well-ventilated place away from direct sunlight and sources of ignition or open flames.
Spills of liquid anesthetic agents should be cleaned up immediately.
Carry out a complete anesthesia apparatus checkout procedure each day before the first case.
Carry out an abbreviated inspection process before each use.

## Slide 17: Delivery Techniques for Inhalant Anesthetics
Precision Vaporizer:
Optimal delivery of inhalant anesthetic in all animals
Allows the level of anesthesia to be precisely titrated for procedures lasting minutes or several hours.
Always used for the inhalant anesthesia of large animals.
Waste anesthetic gases can be scavenged either passively or actively.

## Slide 18: Delivery Techniques for Inhalant Anesthetics
Open Drop technique
Not an optimal technique for anesthetizing rodents: can overdose and subsequent death if not monitored properly .
Generally used in rodents for procedures lasting 30-45 seconds (e.g. blood collection, tail clipping).
Must use a clear glass or plastic induction chamber to facilitate observation of the animal
The chamber should be of sufficient size that the animal can move freely and will not become hypoxic
A grid or other barrier must be used to prevent direct physical contact with the liquid inhalant to avoid skin irritation.
Do not work on bench top with this delivery technique.

## Slide 19: Emergencies
Train everyone working with anesthetics
Never work alone, follow a buddy system
Keep MSDS easily accessible
Have a spill kit easily accessible for small spills and keep everyone trained to use it.
Clean up small spills promptly if you are trained. All other spills should be cleaned up by specially trained personnel.
Know the location and how to operate safety equipment, including:
  Eye wash/Shower
  Fire extinguisher and alarm pull station
  First aid kit