Appendix F – Peroxide Forming Chemicals and Test Methods for Peroxides

PEROXIDE FORMING CHEMICALS

| Peroxide Hazard on Storage: Discard After Three Months |  |
| --- | --- |
| Divinyl acetylene Divinyl ether Isopropyl ether | Potassium metal Sodium amide Vinylidene chloride |
| Peroxide Hazard on Concentration: Discard After One Year |  |
| Acetal Cumene Cyclohexene Cyclooxyene Cyclopentene Diacetylene Dicyclopentadiene Diethyl ether Diethylene glycol dimethyl ether (diglyme) | Dioxane Ethylene glycol dimethyl ether (glyme) Furan Methyl acetylene Methylcyclopentane Methyl isobutyl ketone Tetrahydronaphtalene (Tetralin) Tetrahydrofuran Vinyl ethers |
| Hazardous Due to Peroxide Initiation of Polymerization*: Discard After One Year |  |
| Acrylic acid Acrylonitrile Butadiene Chloroprene Chlorotrifluoroethylene Methyl methacrylate | Styrene Tetrafluoroethylene Vinyl acetylene Vinyl acetate Vinyl chloride Vinyl pyridine |

Peroxide Testing Method

Peroxide forming compounds should be tested on a regular basis to detect the presence of peroxides before they reach dangerous concentrations.

One testing method is the Redox test strip (available through Sigma Aldrich ). The strip contains the enzyme peroxidase which transfers oxygen from the peroxide to an organic redox indicator, which is then converted to a blue oxidation product. Follow manufacturer's instructions for testing and interpreting results.

- If the peroxide concentration is greater than 25 ppm, but less than 100 ppm, the chemical may be used, but DO NOT DISTILL OR CONCENTRATE.

- If the peroxide concentration is greater than 100 ppm, it should be considered as potentially explosive and should not be used. It should be disposed of as hazardous waste (see next section).

The following is a discussion of several treatment methods:

Method 1

Hydroperoxides can be removed by passing the solvent through a column of activated alumina. This method works for water-soluble and water-insoluble chemicals. The washed solvent should be retested to ensure that it has been cleaned adequately. The alumina apparently catalyzes the degradation of some peroxides, but in some cases the peroxide may remain intact on the alumina, making it potentially shock sensitive. The alumina can be deactivated by flushing with a dilute acid solution of potassium iodide or ferrous sulfate.

The amount of alumina required depends on the quantity of peroxide. As a start, a column containing 100 g of alumina should be used for 100 mL of solvent. More alumina or passage through a second column may be required to eliminate peroxides. This method is relatively slow and expensive, but it avoids shaking the solvent and does not add water. It will not reliably remove dialkyl peroxides, although there is some controversy about this.

Method 2

Peroxides in water-insoluble chemicals can be removed by shaking with a concentrated solution of ferrous salt; 60 g FeSO4, 6 mL concentrated H2SO4, and 110 mL water are a standard solution. Another formulation is 100 g FeSO4, 42 mL concentrated HCl, and 85 mL water. The peroxide former is extracted two to three times with an equal volume of the reagent. Drying over sodium or magnesium sulfate can be used to remove dissolved water. Shaking should be very gentle for the first extraction.

This method has been shown repeatedly to be quite effective for most peroxides, but it is not reliable for removing alkyl peroxides.

Method 3

Blue-indicating molecular sieve (4—8 mesh, type 4A) is added to containers of peroxidized chemicals and allowed to sit for 1–30 days. An amount equivalent to about 5%–10% (wt/vol) of the peroxidized liquid is used. Alternatively, the mixture can be refluxed, and the reaction occurs within 4 hours. The peroxide is broken down, and the indicator in the sieve is consumed. When run at room temperature, this process is apparently safe, slow, and controlled. Dialkyl peroxides are not efficiently removed, especially from dioxane. This method may be particularly suited to treatment of THF, diisopropyl ethers, and diethyl ethers, which may be decontaminated at room temperature in a couple of days.